## Sheet1
EPRU-001-2016
[14 empty] | UN Mission Rate - July 2016 |  | 47.014
ANNEX B_BILL OF QUANTITY (BOQ) FORM
DATE: 22 July 2016
ITEM |  |  |  |  | DESCRIPTION | DETAIL (Dwg No.) | QTY | UNIT | U/COST | U-MATL | U-LABOR | TOTAL-MATL | TOTAL-LABOR | AMOUNT | SUB-TOTAL (PHP) | SUB-TOTAL (USD)
1.000 | GENERAL REQUIREMENTS
1.001 |  | Permits and Government Fees |  |  |  |  | 1 | lot
1.002 |  | Contractor site office, temporary warehouse, temporary toilets, etc. including designated space for IOM Field Engineer to work on site |  |  |  |  | 1 | lot
1.003 |  | Communication and e-mail facilities |  |  |  |  | 1 | lot
1.004 |  | Bonds and Insurances |  |  |  |  | 1 | lot
1.005 |  | Materials tests and certification, etc. |  |  |  |  | 1 | lot
1.006 |  | As Built drawings, commissioning and testing, etc. |  |  |  |  | 1 | lot
1.007 |  | Others (Pls specify)
SUB-TOTAL
2 | SITE WORKS
2.001 |  | General site preparation, including clearing (grubbing) and levelling |  |  |  |  | 1225 | sq.m
2.002 |  | Localised site grading: GROUND SURFACES WITHIN 1.5m. OF BUILDING GRADED TO MINIMUM 1:30 FALL AWAY TO PREVENT PONDING |  |  |  |  | 150 | sq.m
2.003 |  | Structural excavation |  |  |  |  | 850 | cu.m
2.004 |  | Backfill / compaction |  |  |  |  | 615 | cu.m
2.005 |  | Disposal of excess soil |  |  |  |  | n/a | cu.m
2.006 |  | Fill /compaction |  |  |  |  | 309 | cu.m
2.007 |  | Gravel Bed |  |  |  |  | 101 | cu.m
2.008 |  | Batter Board and layout |  |  |  |  | 1 | lot
2.009 |  | Others (Pls specify)
SUB-TOTAL
3 | CONCRETE WORKS
3.1 |  | CONCRETE
3.101 |  | Column footings/combined footings |  |  |  |  | 246.6 | cu.m
3.102 |  | Footing tie beams |  |  |  |  | 10.5 | cu.m
3.103 |  | Wall footing |  |  |  |  | 10.5 | cu.m
3.104 |  | Columns |  |  |  |  | 42.9 | cu.m
3.105 |  | Ramp beams |  |  |  |  | 14.6 | cu.m
3.106 |  | Second floor beams |  |  |  |  | 23.6 | cu.m
3.107 |  | Roof beams |  |  |  |  | 23.3 | cu.m
3.108 |  | Suspended slab |  |  |  |  | 73.8 | cu.m
3.109 |  | Stair and stair beams |  |  |  |  | 5.4 | cu.m
3.11 |  | Slab on fill/grade, including isolated slab @ Genset |  |  |  |  | 47.2 | cu.m
3.111 |  | Stiffener beams (lintels) and columns |  |  |  |  | 1 | lot
3.112 |  | Others (Pls specify)
3.2 |  | REBARS
3.201 |  | Column footings/combined footings |  |  |  |  | 14050 | kgs
3.202 |  | Footing tie beams |  |  |  |  | 1925 | kgs
3.203 |  | Wall footing |  |  |  |  | 511.24 | kgs
3.204 |  | Columns |  |  |  |  | 16977 | kgs
3.205 |  | Ramp beams |  |  |  |  | 2150 | kgs
3.206 |  | Second floor beams |  |  |  |  | 6084 | kgs
3.207 |  | Roof beams |  |  |  |  | 3161 | kgs
3.208 |  | Suspended slab |  |  |  |  | 6848 | kgs
3.209 |  | Stair and stair beams |  |  |  |  | 784 | kgs
3.21 |  | Slab on fill/grade, including isolated slab @ Genset |  |  |  |  | 5235.94 | kgs
3.211 |  | Stiffener beams (lintels) and columns |  |  |  |  | 1 | lot
3.212 |  | Others (Pls specify)
3.3 |  | FORMWORKS
3.301 |  | Column footings/combined footings |  |  |  |  | 153 | sm
3.302 |  | Footing tie beams |  |  |  |  | 15 | sm
3.303 |  | Wall footing |  |  |  |  | n/a | sm
3.304 |  | Columns |  |  |  |  | 506 | sm
3.305 |  | Ramp beams |  |  |  |  | 155 | sm
3.306 |  | Second floor beams |  |  |  |  | 270 | sm
3.307 |  | Roof beams |  |  |  |  | 224 | sm
3.308 |  | Suspended slab |  |  |  |  | 676 | sm
3.309 |  | Stair and stair beams |  |  |  |  | 35 | sm
3.31 |  | Slab on fill/grade, including isolated slab @ Genset |  |  |  |  | n/a | sm
3.311 |  | Stiffener beams (lintels) and columns |  |  |  |  | 1 | lot
3.312 |  | Others (Pls specify)
SUB-TOTAL
4 | MASONRY WORKS
4.1 |  | Wall Type W1 |  |  |  | A001 | 622.8 | sm
4.2 |  | Wall Type W2 & Wall Type W3 |  |  |  | A001 | 545 | sm
4.3 |  | Concrete louvers @ Genset Room |  |  |  |  | 14.3 | sm
4.4 |  | Decorative concrete block @ CR (W1-04 & W1-05) |  |  |  |  | 5.2 | sm
4.5 |  | Others (Pls specify)
SUB-TOTAL
5 | METALS
5.1 |  | STRUCTURAL STEEL ROOF FRAMING (50kg/sm), incl paint primer only
5.101 |  |  | Trusses |  |  |  | 6796 | kgs
5.102 |  |  | Purlins |  |  |  | 2190 | kgs
5.103 |  |  | Plates, bolts, |  |  |  | 436 | kgs
5.104 |  |  | Sag rods |  |  |  | 102 | kgs
5.2 |  | ROOF SHEETING (RF-01), incl fastners, accessories, shop dwgs, samples, etc.
5.201 |  |  | Galvanised Steel Roof Sheeting, pre-painted factory finish, inverted box rib (IBR) or similar equivalent to be approved by architect, min. 0.5mm thickness, ridge roll and flashing in matching finish |  |  |  | 360 | sm
5.202 |  |  | Woven Wire Mesh (min. 3mm gauge / max. 2" weave), tied down to purlins |  |  |  | 360 | sm
5.3 |  | BALUSTRADE / HANDRAIL, incl anchors, fixings, painting, shop dwgs, samples, etc.
5.301 |  |  | Stair balustrade and handrail |  |  | A452 | 6.5 | lm
5.302 |  |  | Dwarf wall handrail |  |  | A452 | 9 | lm
5.303 |  |  | Balcony / Ramp balustrade and handrail |  |  | A452 | 42 | lm
5.304 |  |  | Continuous handrail to inside face of facade wall |  |  | A452 | 33 | lm
5.4 |  | ROOF HATCH, incl. hardware, accessories, painting, shop drawings, etc
|  |  | Galvanised Steel Roof Hatch with security lock, 600mm x 600mm |  |  |  | 1 | lot
5.5 |  | ROOF LADDER, incl anchors, fixings, shop dwgs, samples, etc.
|  |  | Stainless Steel Roof Ladder |  |  |  | 1 | lot
5.6 |  | Others (Pls specify)
SUB-TOTAL
6 | THERMAL & MOISTURE PROTECTION
6.1 |  | Roof foam insulation 20mm thk with aluminum foil of 1 side |  |  |  | A401 | 360 | sm
6.2 |  | Waterproofing - liquid epoxy finish to roof slab / gutter |  |  |  | A401 | 148 | sm
SUB-TOTAL
7 | DOORS AND WINDOWS
7.1 |  | DOORS incl hardware / furniture, painting, samples, etc.
7.101 |  |  | D1-01 Sliding Door, 2.10 x 2.60 |  |  | A801 | 1 | set
7.102 |  |  | D1-02, 0.97 x 2.60 |  |  | A801 | 1 | set
7.103 |  |  | D1-03, 1.8 (2x0.90) x 2.60 |  |  | A801 | 1 | set
7.104 |  |  | D1-04 , 0.97 x 2.60 |  |  | A801 | 1 | set
7.105 |  |  | D1-05, 0.97 x 1.6 |  |  | A801 | 1 | set
7.106 |  |  | D1-06 & D1-07, 0.97 x 2.60 |  |  | A801 | 2 | sets
7.107 |  |  | D1-08 & D1-14 PWD toilet cubicle flush door, 0.97 x 1.80 |  |  | A801 | 2 | sets
7.108 |  |  | D1-09 to D1-13 standard toilet cubicle flush door, 0.72 x 1.80 |  |  | A801 | 5 | sets
7.109 |  |  | D2-01 Sliding Door, 2.10 x 2.90 |  |  | A801 | 1 | set
7.2 |  | WINDOWS incl hardware, painting, shop dwgs, samples, etc.
7.201 |  |  | W1-01, 4.00 x 2.60 |  |  | A802 | 1 | set
7.202 |  |  | W1-02, 4.00 x 1.00 |  |  | A802 | 1 | set
7.203 |  |  | W1-03, 4.00 x 1.60 |  |  | A802 | 1 | set
7.204 |  |  | W1-04, 2.40 x 1.00 - decorative concrete block |  |  | A802 | 2.4 | sm | Included in MASONRY
7.205 |  |  | W1-05, 2.40 x 1.00 - decorative concrete block |  |  | A802 | 2.4 | sm | Included in MASONRY
7.206 |  |  | Concrete louvers to Genset Room |  |  | A802 | 8.85 | sm | Included in MASONRY
7.207 |  |  | W2-01 to 07, 4.00 x 2.90 |  |  | A802 | 7 | sets
7.3 |  | STEEL ROLLER SHUTTER (fitted to Windows), incl hardware, shop dwgs, samples, etc.
7.301 |  |  | W1-01, 4.00 x 2.60 |  |  | A802 | 1 | set
7.302 |  |  | W1-03, 4.00 x 1.60 |  |  | A802 | 1 | set
7.303 |  |  | W2-01 to W2-07, 4.00 x 2.90 |  |  | A802 | 7 | set
SUB-TOTAL
8 | FINISHES
8.1 |  | FLOOR FINISH
8.101 |  |  | FF-01, broom finish to concrete including non-skid grooves to ramp |  |  | A001 | 390 | sm
8.102 |  |  | FF-02, smooth finish to concrete including clear seal |  |  | A001 | 400 | sm
8.103 |  |  | FF-03, ceramic tiles including levelling screed, as/if required |  |  | A001 | 55 | sm
8.2 |  | WALL FINISH
8.201 |  |  | WF-06 Ceramic wall tiles @ toilet |  |  | A001 | 220 | sm
8.202 |  |  | Plastering to Walls / Columns |  |  |  | 3600 | sm
8.203 |  |  | Rubbed concrete beams, and walls / columns below ramp; finish with Boysen Konstrukt (acrylic skimcoat) and clear seal |  |  |  | 363 | sm
8.3 |  | CEILING FINISH
8.301 |  |  | Rubbed concrete beams and under slab (skim coat) |  |  |  | 1424 | sm
8.4 |  | PAINTING
8.401 |  |  | Exterior paint on plastered walls |  |  |  | 1180 | sm
8.402 |  |  | Interior paint on plastered walls |  |  |  | 2420 | sm
8.403 |  |  | Interior paint on ceiling |  |  |  | 1424 | sm
8.404 |  |  | Exterior paint on decorative concrete blocks |  |  |  | 5.2 | sm
8.405 |  |  | Interior paint on decorative concrete blocks |  |  |  | 5.2 | sm
8.406 |  |  | Exterior paint on concrete louvers (outside face only) |  |  |  | 14.3 | sm
8.407 |  |  | Skirting paint finish (H200mm) |  |  |  | 140 | sm
8.5 |  | OTHER (Pls specify)
SUB-TOTAL
9 | SPECIALTIES
9.101 |  | Wash Trough @ CR / ceramic tile finish |  |  |  | A461 | 12 | lm
9.102 |  | Wet Area Counter @ exterior / ceramic tile finish |  |  |  | A461 | 6 | lm
9.103 |  | PWD Grab Rail / Grab Bar (GR) |  |  |  | A850 | 5.8 | lm
9.104 |  | Concrete Seat @ Main Entry |  |  |  | A701 | 2.45 | lm
9.105 |  | Notice Board @ Main Entry / Stair |  |  |  | A701 | 1 | set
9.106 |  | Tactile Signage @ CR door / PWD cubicle door |  |  |  | A850 | 4 | set
9.107 |  | Mirror (MR), H1.00 x W1.8m @ CR, incl stainless steel frame |  |  |  | A850 | 2 | set
9.108 |  | Robe Hook (RH) @ toilet cubicle door |  |  |  | A850 | 7 | set
9.109 |  | Toilet Tissue Holder (TTH) @ toilet cubicle |  |  |  | A850 | 7 | set
9.11 |  | Stair Nosing - PVC (black) |  |  |  | A450 | 138 | lm
9.111 |  | Others (Pls Specify)
SUB-TOTAL
10 | PLUMBING WORKS
10.1 |  | SEWER AND DRAINAGE SYSTEM
Installation of sanitary and vent and pipes including fittings, adhesives, etc.
10.101 |  |  | PVC Pipe 100mm (nominal int. pipe Ø) |  |  |  | 70 | lm
10.102 |  |  | PVC Pipe 50mm (nominal int. pipe Ø) |  |  |  | 36 | lm
10.2 |  | SEWER EFFLUENT LEACHING STRIP
Installation of perforated pipes including fittings, adhesives, etc.
10.201 |  |  | Perforated PVC Pipe 100mmØ in gravel filled trench |  |  |  | 40 | lm
10.3 |  | STORM DRAINAGE SYSTEM
Installation of PVC downspouts pipes including fittings, adhesives, etc.
10.301 |  |  | PVC Pipe 100mm (nominal int. pipe Ø) |  |  |  | 42 | lm
10.302 |  |  | PVC Pipe 75mm (nominal int. pipe Ø) |  |  |  | 12 | lm
10.303 |  |  | PVC Pipe 50mm (nominal int. pipe Ø) |  |  |  | 5 | lm
10.4 |  | Installation of concrete drainage pipes including mortar filler, etc.
10.401 |  |  | Concrete pipes 300mØ |  |  |  | 65 | lm
10.402 |  |  | Concrete pipes 400mØ |  |  |  | 60 | lm
10.5 |  | Installation of drains and catch basins
10.501 |  |  | Stainless Steel Deck Drain (Dome Type) |  |  | P05 | 4 | pcs
10.502 |  |  | Stainless Steel Trench Drain @ Ramp |  |  | A350 | 1 | pcs
10.503 |  |  | Catch basins 400 x 400 (opening) |  |  |  | 5 | pcs
10.504 |  |  | Catch basins 600 x 600 (opening) |  |  |  | 4 | pc
10.505 |  |  | Oil Spill catch basin 600 x 600 (opening) |  |  | A450 | 1 | pcs
WATER SYSTEM
10.6 |  | Installation of pipes including fittings, adhesives, etc. (nominal int. pipe Ø)
10.601 |  |  | PVC Pipe 50mm(nominal int. pipe Ø) - for buried pipes |  |  |  | 30 | lm
10.602 |  |  | GI pipe 50mm (nominal int. pipe Ø), Sch. 40 - for pipes exposed to weather or mechanical damage |  |  |  | 12 | lm
10.603 |  |  | PPR pipe 32mm(nominal int. pipe Ø), PN 20 - for embedded pipes |  |  |  | 24 | lm
10.604 |  |  | PPR pipe 25mm (nominal int. pipe Ø), PN 20 - for embedded pipes |  |  |  | 36 | lm
10.605 |  |  | PPR pipe 20mm (nominal int. pipe Ø), PN 20 - for embedded pipes |  |  |  | 18 | lm
10.606 |  |  | PPR pipe 12mm (nominal int. pipe Ø), PN 20 - for embedded pipes |  |  |  | 12 | lm
10.7 |  | Installation of valves
10.701 |  |  | Gate valve 50mmØ (nominal int. opening) |  |  |  | 2 | pcs
10.702 |  |  | Gate valve 40mmØ |  |  |  | 2 | pcs
10.703 |  |  | Gate valve 32mmØ |  |  |  | 4 | pcs
10.704 |  |  | Gate valve 25mmØ |  |  |  | 3 | pcs
10.705 |  |  | Gate valve 20mmØ |  |  |  | 2 | pcs
10.706 |  |  | Gate valve 12mmØ |  |  |  | 7 | pcs
10.707 |  |  | Check valve 50mmØ |  |  |  | 1 | pcs
10.708 |  |  | Check valve 40mmØ |  |  |  | 2 | pcs
FIXTURES
10.8 |  | Installation of plumbing fixtures including fittings, etc.
10.801 |  |  | WC-01, water closet including toilet seat, flush valves, fittings, etc. |  |  | A850 | 5 | sets
10.802 |  |  | WC-02, water closet including toilet seat, flush valves, fittings, etc. |  |  | A850 | 2 | sets
10.803 |  |  | UR, urinal including flush valves, fittings, etc. |  |  | A850 | 1 | set
10.804 |  |  | TA-01, Tap Assembly @ Wash Trough |  |  | A850 | 12 | pcs
10.805 |  |  | TA-02, Tap Assembly @ Wet Area Counter |  |  | A850 | 3 | pcs
10.806 |  |  | TA-03: Outdoor Tap (wall-mounted) |  |  | A850 | 1 | pcs
10.807 |  |  | Floor Waste (FW) @ CR / toilet cubicle |  |  | A850 | 9 | pcs
10.808 |  |  | Sink Drain (SD) @ Wash Trough / Wet Area Counter |  |  | A850 | 3 | pcs
10.809 |  |  | Shower Assembly (SWR) incl rail, head, mixer, fittings, etc. (single) |  |  | A850 | 2 | sets
SUB-TOTAL
11 | ELECTRICAL WORKS
11.1 |  | MAINS
11.101 |  |  |  | Concrete Pedestal |  |  | 1 | assy.
11.102 |  |  |  | Ground Rods |  |  | 3 | assy.
11.103 |  |  |  | 8mm2 BARE Cu |  |  | 30 | lm
11.104 |  |  |  | 40mm dia PVC pipe |  |  | 34 | lm
11.2 |  | POWER SYSTEM
11.21 |  |  | Panel board |  |  |  | 1 | set
11.22 |  |  | AVR 10kW, 230V, 1Ø |  |  |  | 1 | set
11.23 |  |  | CONDUITS including fittings, pullboxes, supports, etc., (L&M) in place :
|  |  |  | 20 mmø PVC |  |  | 811 | lm
11.23 |  |  | WIRES and CABLES including connectors, insulation tape, termination, (L&M) in place:
11.231 |  |  |  | 2.0mm² |  |  | 2733 | lm
11.232 |  |  |  | 3.5mm² |  |  | 600 | lm
11.233 |  |  |  | 8mm² |  |  | 20 | lm
11.234 |  |  |  | 22mm² |  |  | 80 | lm
11.24 |  |  | DEVICES
11.241 |  |  |  | Single c.o., parallel slots, grounding type, 10A, 250V |  |  | 13 | pc/s
11.242 |  |  |  | Single c.o., parallel grounding type, 10A, 250V weather proof |  |  | 7 | pc/s
11.243 |  |  |  | Duplex c.o., parallel grounding type, 10A, 250V |  |  | 35 | pc/s
11.244 |  |  |  | Duplex c.o., parallel grounding type, 10A, 250V weather proof |  |  | 7 | pc/s
11.25 |  |  | SWITCHES
11.251 |  |  |  | 1-gang, single pole, toggle switch, 15A, 300V |  |  | 11 | pc/s
11.252 |  |  |  | 2-gang, single pole, toggle switch, 15A, 300V |  |  | 4 | pc/s
11.253 |  |  |  | 500x400x200 mm Metal Enclosure for switch |  |  | 1 | pc/s
|  |  |  | 400x300x200 mm Metal Enclosure for switch |  |  | 1 | pc/s
11.3 |  | LIGHTING SYSTEM, incl supports, fittings, accessories, samples, etc.
11.301 |  |  |  | Surface Mounted Lighting Fixture with 1 x 16W LED lamps |  |  | 18 | set/s
11.302 |  |  |  | Surface Mounted Lighting Fixture with 2 x 16W LED lamps |  |  | 8 | set/s
11.303 |  |  |  | Surface Mounted Lighting Fixture with 1 x 16W LED lamps w/proof |  |  | 23 | set/s
11.304 |  |  |  | LED Floodlight 50W IP65 |  |  | 1 | set/s
11.305 |  |  |  | Emergency Lighting fixture |  |  | 11 | set/s
11.306 |  |  |  | Exit Light |  |  | 4 | set/s
11.4 |  | FIRE DETECTION AND ALARM SYSTEM
11.401 |  |  |  | Smoke Detectors (Battery Operated) |  |  | 10 | set/s
11.5 |  | LIGHTNING PROTECTION SYSTEM
11.501 |  |  |  | Air terminal with mast |  |  | 1 | assy.
11.502 |  |  |  | Stroke counter with box |  |  | 1 | assy.
11.503 |  |  |  | Ground Well w/ ground rods |  |  | 3 | assy.
11.504 |  |  |  | 60mm2 Bare Cu |  |  | 24 | lm
11.505 |  |  |  | 40mm dia PVC pipe |  |  | 24 | lm
11.6 |  | CEILING FAN, incl supports, fittings, accessories, samples, etc.
11.601 |  |  | Surface Mounted Ceiling Fan |  |  | A850 | 18 | sets
SUB-TOTAL
12 | OTHERS
12.001 |  | Submersible tranfer pump including controls, float switches and accessories, testing and commssioning, etc. |  |  |  |  | 2 | units
12.002 |  | Stainless steel water tank, horizontal, mounted on concrete gutter, "Best Tank or equivalent" including lifting and mounting, and additional ties and anchorages with reinforced fixing to ensure tank remains secure is sustained winds up to 320km per hour |  |  |  |  | 1 | units
12.003 |  | Generator set (10kW): supply, delivery, installation (incl exhaust), testing and commissioning, etc. |  |  |  |  | 1 | lot
12.004 |  | Reinforced Concrete Septic tank including associated excavation works and concrete manhole covers with steel handle |  |  |  |  | 1 | lot
12.005 |  | Reinforced Concrete Cistern Tank including gate/check valves and plumbing, float switch and accessories, associated escavation works, stainless steel ladders and stainless steel manhole covers with s/s handle and security lock, testing and commissioning, etc. |  |  |  |  | 1 | lot
12.006 |  | Fire Extinguishers, incl wall-mounted hook |  |  |  |  | 8 | lot
12.007 |  | Others (Pls Specify)
SUB-TOTAL
DESIGN OPTIONS
A | WATER FILTRATION SYSTEM
|  |  | Stainless Steel Rainwater Filter Tevice 450 x 450 x 110 |  |  | P05 | 1 | unit
|  |  | PVC Pipe 100mm (nominal int. pipe Ø) |  |  | P04 | 33 | lm
|  |  | PVC Pipe 50mm (nominal int. pipe Ø) |  |  | P04 | 3 | lm
|  |  | Gutter Drain (75mm Ø pipe) |  |  | P04 | 8 | pcs
|  |  | Food-grade epoxy lining to Cistern Tank |  |  |  | 1 | lot
Others (Pls Specify)
SUB-TOTAL
TOTAL