**TECHNICAL SPECIFICATIONS**

|  |  |  |
| --- | --- | --- |
| **IOM’S SPECIFICATIONS** | **BIDDER'S SPECIFICATIONS** | **Indicate**  **COMPLY or NOT Comply** |
| * Disposable Isolation Gown Medium and large Long sleeved, water resistant |  |  |
| * Gloves latex, nitrile, non-sterile |  |  |
| Bleach/surface disinfectant 5-6% chlorine |  |  |
| Hand sanitizer 500 ml , alcohol >60% |  |  |
| Biohazard Bin  45 Ligiid, Puncture resistant, Leak-resistant, equipped with a tight fitting cover |  |  |
| Biohazard bag  High Molecular Weight, High-Density (HMHD) Polyethylene or Polypropylene.)  Capacity: 50L (10 to 12 gallons)  Thickness: 1.2 mil to 2.0 mil  Puncture, tear and leak resistant  Leak proof bottom seal for added safety and leak resistance  Carry capacity: 25kg  Supplied as roll or box of 100 bags |  |  |
| * Liquid Soap 500 ml |  |  |
| Tissue paper bags |  |  |