**TECHNICAL SPECIFICATIONS**

|  |  |  |
| --- | --- | --- |
| **IOM’S SPECIFICATIONS** | **BIDDER'S SPECIFICATIONS** | **Indicate** **COMPLY or NOT Comply** |
| * Disposable Isolation Gown Medium and large Long sleeved, water resistant
 |  |  |
| * Gloves latex, nitrile, non-sterile
 |  |  |
| Bleach/surface disinfectant 5-6% chlorine  |  |  |
| Hand sanitizer 500 ml , alcohol >60% |  |  |
| Biohazard Bin45 Ligiid, Puncture resistant, Leak-resistant, equipped with a tight fitting cover  |  |  |
| Biohazard bagHigh Molecular Weight, High-Density (HMHD) Polyethylene or Polypropylene.)Capacity: 50L (10 to 12 gallons)Thickness: 1.2 mil to 2.0 milPuncture, tear and leak resistantLeak proof bottom seal for added safety and leak resistanceCarry capacity: 25kgSupplied as roll or box of 100 bags |  |  |
| * Liquid Soap 500 ml
 |  |  |
| Tissue paper bags  |  |  |