**TECHNICAL SPECIFICATIONS**

|  |  |  |
| --- | --- | --- |
| **IOM’S SPECIFICATIONS** | **BIDDER'S SPECIFICATIONS include photo reference** | **Indicate** **COMPLY or NOT Comply** |
| **Empty Spray dispenser bottle 1 liter** Plastic bottle with trigger sprayer-Chemically resistant  |  |  |
| **Paper roll for stretcher**Roll of resistant paper - W180 x H59 cm |  |  |
| **Stethoscope** Classic monitoring stethoscope |  |  |
| **Eau de JAVEL (Bleach) 1 liter bottle** |  |  |
| **One use holder (vacutainer)**Standard |  |  |
| **Multi needle (for vacutainer)**Standard  |  |  |
| **Alcohol swabs** Size: 3cm x 3cm  |   |  |
| **EDTA tubes for vacutainer - 6 ml**Volume of 6 ml |  |  |
| **Disposable syringes** 10cc with 21-gauge needles |  |  |
| **Viral transport tubes (VTM)** Conical bottom self-standing |  |  |
| **Compress non-sterile**Compress, gauze, size: 10cm x 10cm |  |  |
| **Test tube** 12mm x 75mm, round bottom |  |  |
| **Tube cap** O.D 12mm |  |  |
| **Medical Mask (3 PLY)**Medical mask, good breathability, internal and external faces should be clearly identified, 98% droplet filtration, preferably fluid resistant. |  |  |
| **Bleach/surface disinfectant** Wide antimicrobial spectrum, produce a rapid kill, not affected by environmental factors, compatible with soaps, detergents, and other chemicals encountered in use, Nontoxic, Easy to use with clear label directions, no harm on surfaces, soluble in water, have 2-10% sodium hypochlorite |  |  |
| **Hand sanitizer 1L**Alcohol based hand sanitizer, alcohol content 60-80% |  |  |
| **Gloves (latex, non-sterile)**Latex, non-sterile, small size  |  |  |
| **Biohazard Bin (45lt)**Made of Metal with High density plastic |  |  |
| **Biohazard Bag (45lt)**Disposable bags |  |  |
| **Liquid Soap (250ml)**Size: 250ml  |  |  |
| **Tissue paper bags**Good Quality |  |  |

## \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

## Supplier’s authorized signature over printed name