## Medical Equipment List and Cost
Lot No | Minimum IOM requirements | Bidder's offer - indicate specifications | Indicate COMPLY or Not Comply | Unit Cost | Vat | Total Cost
1 | Centrifuge Benchtop, general purpose, speed adjustable, high speed (up to RPM 5000), with timer, adapters/inserts for 5-10 ml blood collection tubes, 24x tubes capacity
1.1 | 1 year Warranty
1.2 | 2 years Warranty
1.3 | 3 years Warranty
2 | Dynex DS2 Automated ELISA System (for IGRA) (Specifications attached)
2.1 | 1 year Warranty
2.2 | 2 years Warranty
2.3 | 3 years Warranty
2.4 | Accessories: Please indicate cost per accessory Sample Tips (432/box) Reagent tips (432/box) Deep-Well Strips (250/box) Control Vials with Caps (33/pack) Reagent Tubes, 25 mL (24/pack) Reagent Tubes, 15 mL (10/pack) Sample Rack Holder
2.5 | Reagent: QuantiFERON-TB Gold Plus (QFT-Plus) ELISA Kit (QIAGEN) (IOM recommended brand)
2.6 | Reagent: QuantiFERON-TB Gold Plus (QFT-Plus) ELISA Kit (QIAGEN)
3 | Incubator 37 °C (for IGRA testing): Memmert or equivalent reputable brand General-purpose incubator, stainless steel, weldless interior, minimum of three adjustable stainless-steel shelves. Warm air or water jacket design. Full length inner glass door. Heating elements isolated from internal chamber for safety. LED display with audible/visual over-temperature alarm. Access port for connection to chart recorder. Medium sized, approx. size: 50–70 litres. Range: ambient to +60°C (min), optimized at 37 °C accuracy: ± 0.5 Temperature variation at 37 °C: ≤0.1 °C. Temperature overshoot within this limit. Documentation Manufacturer’s certificate: The manufacturer must have a management system certified to ISO 9001. One certificate states that the incubator has been calibrated at the factory to 37 °C.
3.1 | 1 year Warranty
3.2 | 2 years Warranty
3.3 | 3 years Warranty
4 | Immunoassay Analyzer - see attached specifications
4.1 | 1 year Warranty
4.2 | 2 years Warranty
4.3 | 3 years Warranty
4.4 | Reagents: please indicate cost per item • HIV kit, (Ab/Ag) • HIV Calibrator • HIV Control • Anti-HCV kit • Anti-HCV Calibrator • Anti-HCV Control • HBs Ag Kit • HBs Ag Calibrator • HBs Ag Control • TSH reagent • TSH Calibrator • TSH Control • Ferritin Reagent • Ferritin Calibrator • Ferritin Control
5 | Hematology analyzer
5.1 | 1 year Warranty
5.2 | 2 years Warranty
5.3 | 3 years Warranty
5.4 | Reagents for CBCD Control Calibrator (if applicable)
6 | HBA1c analyzer Benchtop POC or HPLC Low output
6.1 | 1 year Warranty
6.2 | 2 years Warranty
6.3 | 3 years Warranty
7 | Biochemistry analyzer (Specifications attached) Cobas c111/ Humalyzer-3500, Human or equivalent reputable brand
7.1 | 1 year Warranty
7.2 | 2 years Warranty
7.3 | 3 years Warranty
7.4 | Reagents: • Creatinine reagent, calibrator, and control • SGOT reagent, calibrator, and control • SGPT reagent, calibrator, and control • Phosphatase Alkaline reagent, calibrator, and control • GGT reagent, calibrator, and control • Bilirubin total and direct, reagent, calibrator, and control • Electrolytes reagent, calibrator, and control
8 | Medical Appliances
8.1 | Refrigerator, medical, with temperature recorder and alarm (Specifications attached)
8.1.1 | 1 year Warranty
8.1.2 | 2 years Warranty
8.1.3 | 3 years Warranty
8.2 | Freezer freezer, Medical, small, with temperature recorder and alarm (Specifications attached)
8.2.1 | 1 year Warranty
8.2.2 | 2 years Warranty
8.2.3 | 3 years Warranty
9 | Microscope Microscope: Light microscope, binocular, with LED illumination. with quadruple revolving nosepiece, eyepieces 10x (anti-fungus layer), plan objectives (anti-fungus) 4x, 10x, 40x, 100x
9.1 | 1 year Warranty
9.2 | 2 years Warranty
9.3 | 3 years Warranty
10 | Hematology manual Counter
10.1 | 1 year Warranty
10.2 | 2 years Warranty
10.3 | 3 years Warranty
11 | Tube roller mixer Operation Mode: rolling & swinging. Amplitude 24mm - Max. Capacity: 4kg Roller Quantity: 6 rollers Motor: brushless DC motor Speed Accuracy: 1rpm Roller Length: 280mm Speed Range: 10-80rpm Voltage: AC100-240 50-60HZ Power: 25W
11.1 | 1 year Warranty
11.2 | 2 years Warranty
11.3 | 3 years Warranty
12 | Mechanical rotator (rotor/ orbital mixer) speed-adjustable to 100 ±20 rpm, circumscribing a circle 20mm in diameter in a horizontal plane, with timer and humidifying cover (recommended) VRN-200 Gemmy Industrial, Taiwan or equivalent
12.2 | 1 year Warranty
12.2 | 2 years Warranty
12.3 | 3 years Warranty

## Spare Part list and Cost
Lot No | Minimum List of equipment | Spare Parts | [5 empty] | Note: please add columns as needed
|  | xx | xx | xx | xx | xx | xx
|  | Unit Cost with Vat | Unit Cost with Vat | Unit Cost with Vat | Unit Cost with Vat | Unit Cost with Vat | Unit Cost with Vat
1 | Centrifuge Benchtop, general purpose, speed adjustable, high speed (up to RPM 5000), with timer, adapters/inserts for 5-10 ml blood collection tubes, 24x tubes capacity
2 | Dynex DS2 Automated ELISA System (for IGRA) (Specifications attached)
3 | Incubator 37 °C (for IGRA testing): Memmert or equivalent reputable brand General-purpose incubator, stainless steel, weldless interior, minimum of three adjustable stainless-steel shelves. Warm air or water jacket design. Full length inner glass door. Heating elements isolated from internal chamber for safety. LED display with audible/visual over-temperature alarm. Access port for connection to chart recorder. Medium sized, approx. size: 50–70 litres. Range: ambient to +60°C (min), optimized at 37 °C accuracy: ± 0.5 Temperature variation at 37 °C: ≤0.1 °C. Temperature overshoot within this limit. Documentation Manufacturer’s certificate: The manufacturer must have a management system certified to ISO 9001. One certificate states that the incubator has been calibrated at the factory to 37 °C.
4 | Immunoassay Analyzer - see attached specifications
6 | HBA1c analyzer Benchtop POC or HPLC Low output
7 | Biochemistry analyzer (Specifications attached) Cobas c111/ Humalyzer-3500, Human or equivalent reputable brand
8 | Medical Appliances
8.1 | Refrigerator, medical, with temperature recorder and alarm (Specifications attached)
8.2 | Freezer freezer, Medical, small, with temperature recorder and alarm (Specifications attached)
9 | Microscope Microscope: Light microscope, binocular, with LED illumination. with quadruple revolving nosepiece, eyepieces 10x (anti-fungus layer), plan objectives (anti-fungus) 4x, 10x, 40x, 100x
10 | Hematology manual Counter
11 | Tube roller mixer Operation Mode: rolling & swinging. Amplitude 24mm - Max. Capacity: 4kg Roller Quantity: 6 rollers Motor: brushless DC motor Speed Accuracy: 1rpm Roller Length: 280mm Speed Range: 10-80rpm Voltage: AC100-240 50-60HZ Power: 25W
12 | Mechanical rotator (rotor/ orbital mixer) speed-adjustable to 100 ±20 rpm, circumscribing a circle 20mm in diameter in a horizontal plane, with timer and humidifying cover (recommended) VRN-200 Gemmy Industrial, Taiwan or equivalent